## README
AtriumDB ICU Vital-Sign Measure Mapping — Corrected
Phase 1 scope: Heart Rate, Systolic BP, Diastolic BP, Mean BP (numeric parameters only).
Generated from ICU_measures.csv (329 measures). Validates & corrects ICU_Measures_Mapping.pdf.
KEY DATA-MODEL POINT
In AtriumDB a measure is uniquely identified by the triple (tag, frequency, unit) — not by tag alone.
Each row in the mapping tab is therefore keyed on measure_id. Retrieve data by measure_id (or the full triple),
never by tag string, because some tags resolve to more than one measure_id.
TABS
1. Vital Sign Mapping | Phase-1 active mapping. measure_id → {Heart Rate ¦ Systolic BP ¦ Diastolic BP ¦ Mean BP}.
2. Special Measures | Measures that share a tag but differ by unit (NIBP kPa variants). Kept, flagged, with conversion factor.
3. Clinical Review | Ambiguous tags needing biomed/clinical sign-off before inclusion (corrected from PDF §5.1–5.3).
4. Excluded - Non-systemic | Valid, fully queryable measures (PAP, atrial, CVP, umbilical venous, ICP) excluded from the four BP vital signs but available for other analyses.
5. Waveforms (Phase 2) | All mmHg pressure waveforms (125 Hz). Out of scope for phase 1; candidate arterial sources noted.
CORRECTIONS APPLIED vs the original PDF
• Unknown_61695 was listed as mmHg; it is actually % (id 143). Moved to Clinical Review with correct unit.
• Unknown_61636 was listed as mmHg; it is actually °C (id 122). Moved to Clinical Review with correct unit.
• Unknown_64604 / 64618 / 64619 do not exist in the CSV (phantom entries). Removed.
• Unknown_64693 (id 2618) and Unknown_64694 (id 2619) are real mmHg unknowns the PDF omitted. Added.
• The kPa NIBP note "(source ID 2)" was misleading: mmHg and kPa rows are both source_id 2; unit is the difference.
• Named arterial pressure WAVEFORMS (e.g. MDC_PRESS_BLD_ART_ABP, id 4) were absent from the PDF; added to Waveforms tab.
• Non-systemic pressures (PAP/atrial/CVP/umbilical venous/ICP) were silently dropped; now listed explicitly as Excluded.

## Vital Sign Mapping
measure_id | tag | name | vital_sign | method | site | freq_hz | unit | unit_code | source_id | special_flag | notes
11 | MDC_ECG_CARD_BEAT_RATE | Heart Rate (ECG) | Heart Rate | ECG | ECG cardiac | 0.97656 | bpm | MDC_DIM_BEAT_PER_MIN | 2 |  | ECG-derived instantaneous heart rate
7 | MDC_PLETH_PULS_RATE | Heart Rate (SpO2 / Pleth) | Heart Rate | Pulse oximetry | Plethysmograph | 0.97656 | bpm | MDC_DIM_BEAT_PER_MIN | 2 |  | Pulse rate from pleth waveform
17 | MDC_PULS_RATE | Heart Rate (generic pulse rate) | Heart Rate | Unspecified | Generic | 0.97656 | bpm | MDC_DIM_BEAT_PER_MIN | 2 |  | Generic pulse-rate parameter
75 | NOM_PRESS_BLD_NONINV_PULS_RATE | Heart Rate (NIBP-derived) | Heart Rate | Non-invasive | NIBP cuff | 0.97656 | bpm | MDC_DIM_BEAT_PER_MIN | 2 |  | Pulse rate during NIBP cycle
15 | MDC_PRESS_BLD_ART_ABP_SYS | Systolic BP — Arterial line (ABP) | Systolic BP | Invasive | Arterial line (ABP channel) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
29 | MDC_PRESS_BLD_ART_SYS | Systolic BP — Arterial (generic) | Systolic BP | Invasive | Arterial line (generic) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
131 | MDC_PRESS_BLD_SYS | Systolic BP — unspecified source | Systolic BP | Unspecified | Source unspecified | 0.97656 | mmHg | MDC_DIM_MMHG | 2
8 | MDC_PRESS_BLD_NONINV_SYS | Systolic BP — Non-invasive (NIBP) | Systolic BP | Non-invasive | NIBP cuff (oscillometric) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
228 | MDC_PRESS_BLD_NONINV_SYS | Systolic BP — Non-invasive (NIBP, kPa) | Systolic BP | Non-invasive | NIBP cuff (oscillometric) | 0.97656 | kPa | MDC_DIM_KILO_PASCAL | 2 | UNIT_VARIANT (see Special Measures) | kPa variant of the NIBP measure — convert before merging with mmHg series
141 | MDC_PRESS_BLD_AORT_SYS | Systolic BP — Aortic | Systolic BP | Invasive | Aortic root | 0.97656 | mmHg | MDC_DIM_MMHG | 2
150 | MDC_PRESS_BLD_ART_UMB_SYS | Systolic BP — Umbilical arterial | Systolic BP | Invasive | Umbilical artery (neonatal) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
198 | NOM_PRESS_BLD_ART_FEMORAL_SYS | Systolic BP — Femoral arterial | Systolic BP | Invasive | Femoral artery | 0.97656 | mmHg | MDC_DIM_MMHG | 2
416 | NOM_PRESS_BLD_ART_BRACHIAL_SYS | Systolic BP — Brachial arterial | Systolic BP | Invasive | Brachial artery | 0.97656 | mmHg | MDC_DIM_MMHG | 1
16 | MDC_PRESS_BLD_ART_ABP_DIA | Diastolic BP — Arterial line (ABP) | Diastolic BP | Invasive | Arterial line (ABP channel) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
30 | MDC_PRESS_BLD_ART_DIA | Diastolic BP — Arterial (generic) | Diastolic BP | Invasive | Arterial line (generic) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
132 | MDC_PRESS_BLD_DIA | Diastolic BP — unspecified source | Diastolic BP | Unspecified | Source unspecified | 0.97656 | mmHg | MDC_DIM_MMHG | 2
9 | MDC_PRESS_BLD_NONINV_DIA | Diastolic BP — Non-invasive (NIBP) | Diastolic BP | Non-invasive | NIBP cuff (oscillometric) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
229 | MDC_PRESS_BLD_NONINV_DIA | Diastolic BP — Non-invasive (NIBP, kPa) | Diastolic BP | Non-invasive | NIBP cuff (oscillometric) | 0.97656 | kPa | MDC_DIM_KILO_PASCAL | 2 | UNIT_VARIANT (see Special Measures) | kPa variant of the NIBP measure — convert before merging with mmHg series
142 | MDC_PRESS_BLD_AORT_DIA | Diastolic BP — Aortic | Diastolic BP | Invasive | Aortic root | 0.97656 | mmHg | MDC_DIM_MMHG | 2
151 | MDC_PRESS_BLD_ART_UMB_DIA | Diastolic BP — Umbilical arterial | Diastolic BP | Invasive | Umbilical artery (neonatal) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
199 | NOM_PRESS_BLD_ART_FEMORAL_DIA | Diastolic BP — Femoral arterial | Diastolic BP | Invasive | Femoral artery | 0.97656 | mmHg | MDC_DIM_MMHG | 2
417 | NOM_PRESS_BLD_ART_BRACHIAL_DIA | Diastolic BP — Brachial arterial | Diastolic BP | Invasive | Brachial artery | 0.97656 | mmHg | MDC_DIM_MMHG | 1
14 | MDC_PRESS_BLD_ART_ABP_MEAN | Mean BP — Arterial line (ABP) | Mean BP | Invasive | Arterial line (ABP channel) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
28 | MDC_PRESS_BLD_ART_MEAN | Mean BP — Arterial (generic) | Mean BP | Invasive | Arterial line (generic) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
130 | MDC_PRESS_BLD_MEAN | Mean BP — unspecified source | Mean BP | Unspecified | Source unspecified | 0.97656 | mmHg | MDC_DIM_MMHG | 2
10 | MDC_PRESS_BLD_NONINV_MEAN | Mean BP — Non-invasive (NIBP) | Mean BP | Non-invasive | NIBP cuff (oscillometric) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
230 | MDC_PRESS_BLD_NONINV_MEAN | Mean BP — Non-invasive (NIBP, kPa) | Mean BP | Non-invasive | NIBP cuff (oscillometric) | 0.97656 | kPa | MDC_DIM_KILO_PASCAL | 2 | UNIT_VARIANT (see Special Measures) | kPa variant of the NIBP measure — convert before merging with mmHg series
140 | MDC_PRESS_BLD_AORT_MEAN | Mean BP — Aortic | Mean BP | Invasive | Aortic root | 0.97656 | mmHg | MDC_DIM_MMHG | 2
149 | MDC_PRESS_BLD_ART_UMB_MEAN | Mean BP — Umbilical arterial | Mean BP | Invasive | Umbilical artery (neonatal) | 0.97656 | mmHg | MDC_DIM_MMHG | 2
197 | NOM_PRESS_BLD_ART_FEMORAL_MEAN | Mean BP — Femoral arterial | Mean BP | Invasive | Femoral artery | 0.97656 | mmHg | MDC_DIM_MMHG | 2
212 | NOM_PRESS_BLD_ART_BRACHIAL_MEAN | Mean BP — Brachial arterial | Mean BP | Invasive | Brachial artery | 0.97656 | mmHg | MDC_DIM_MMHG | 2

## Special Measures
Special measures — same tag, multiple units
These tags resolve to more than one measure_id because a unit variant exists. Both measure_ids are retained. When a vital-sign series mixes them, convert the variant to the canonical unit using the factor below before display/analysis.
group_tag | vital_sign | measure_id | unit | unit_code | role | convert_to_canonical | canonical_unit
MDC_PRESS_BLD_NONINV_SYS | Systolic BP | 8 | mmHg | MDC_DIM_MMHG | CANONICAL | × 1 | mmHg
MDC_PRESS_BLD_NONINV_SYS | Systolic BP | 228 | kPa | MDC_DIM_KILO_PASCAL | VARIANT | × 7.50062 (kPa→mmHg) | mmHg
MDC_PRESS_BLD_NONINV_DIA | Diastolic BP | 9 | mmHg | MDC_DIM_MMHG | CANONICAL | × 1 | mmHg
MDC_PRESS_BLD_NONINV_DIA | Diastolic BP | 229 | kPa | MDC_DIM_KILO_PASCAL | VARIANT | × 7.50062 (kPa→mmHg) | mmHg
MDC_PRESS_BLD_NONINV_MEAN | Mean BP | 10 | mmHg | MDC_DIM_MMHG | CANONICAL | × 1 | mmHg
MDC_PRESS_BLD_NONINV_MEAN | Mean BP | 230 | kPa | MDC_DIM_KILO_PASCAL | VARIANT | × 7.50062 (kPa→mmHg) | mmHg
Convention: store canonical_unit = mmHg for all BP. Apply the factor to any VARIANT measure_id at read time.

## Clinical Review
measure_id | tag | candidate_vital_sign | freq_hz | unit | unit_code | review_reason | notes
18 | Unknown_61669 | Heart Rate? | 0.97656 | bpm | MDC_DIM_BEAT_PER_MIN | bpm tag, no ISO/IEEE 11073 identity | Unidentified bpm channel — possible duplicate HR
146 | Unknown_61780 | Heart Rate? | 0.97656 | bpm | MDC_DIM_BEAT_PER_MIN | bpm tag, no ISO/IEEE 11073 identity | Unidentified bpm channel — possible duplicate HR
12 | MDC_ECG_V_P_C_CNT | Exclude? | 0.97656 | bpm | MDC_DIM_BEAT_PER_MIN | bpm tag, no ISO/IEEE 11073 identity | VPC event rate — NOT heart rate; include or exclude?
681 | NOM_ECG_TIME_PD_QT_HEART_RATE | Heart Rate? | 0.97656 | bpm | MDC_DIM_BEAT_PER_MIN | bpm tag, no ISO/IEEE 11073 identity | HR used for QT correction — may duplicate MDC_ECG_CARD_BEAT_RATE
170 | NOM_PRESS_GEN_1_SYS | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
171 | NOM_PRESS_GEN_1_DIA | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
169 | NOM_PRESS_GEN_1_MEAN | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
195 | NOM_PRESS_GEN_2_SYS | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
196 | NOM_PRESS_GEN_2_DIA | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
194 | NOM_PRESS_GEN_2_MEAN | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
638 | NOM_PRESS_GEN_3_SYS | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
637 | NOM_PRESS_GEN_3_MEAN | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
201 | NOM_PRESS_GEN_4_SYS | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
202 | NOM_PRESS_GEN_4_DIA | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
200 | NOM_PRESS_GEN_4_MEAN | Sys/Dia/Mean BP? | 0.97656 | mmHg | MDC_DIM_MMHG | Configurable channel — vascular site set at bedside | Assign to arterial only if confirmed systemic arterial; could be PAP/CVP/other
54 | Unknown_61611 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
55 | Unknown_61609 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
56 | Unknown_61610 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
100 | Unknown_61607 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
101 | Unknown_61605 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
102 | Unknown_61606 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
117 | Unknown_61623 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
127 | Unknown_61472 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
158 | Unknown_61627 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
639 | Unknown_61614 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
654 | Unknown_61615 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
655 | Unknown_61613 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
659 | Unknown_61631 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
660 | Unknown_61629 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
661 | Unknown_61630 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
673 | Unknown_62471 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
676 | Unknown_64679 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
677 | Unknown_64677 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
678 | Unknown_64678 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
679 | Unknown_64695 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2539 | Unknown_64683 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2540 | Unknown_64681 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2541 | Unknown_64682 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2545 | Unknown_64663 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2546 | Unknown_64661 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2547 | Unknown_64662 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2595 | Unknown_64667 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2596 | Unknown_64687 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2601 | Unknown_64671 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2602 | Unknown_64669 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2603 | Unknown_64670 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2604 | Unknown_64711 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2605 | Unknown_64665 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2606 | Unknown_64666 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2608 | Unknown_64715 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2618 | Unknown_64693 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
2619 | Unknown_64694 | BP (component?) | 0.97656 | mmHg | MDC_DIM_MMHG | mmHg tag with no decoded identity | Origin unknown; needs source trace
143 | Unknown_61695 | Exclude (not BP) | 0.97656 | % | MDC_DIM_PERCENT | PDF misfiled as mmHg; CSV unit differs | % — likely SpO2-family, NOT pressure
122 | Unknown_61636 | Exclude (not BP) | 0.97656 | °C | MDC_DIM_DEGC | PDF misfiled as mmHg; CSV unit differs | °C — likely temperature, NOT pressure

## Excluded - Non-systemic
Excluded — not systemic arterial blood pressure
These are valid, fully queryable measures — each has its own measure_id and can be analysed in its own right (e.g. ICP for neuro-monitoring studies, CVP for volume status, PAP for pulmonary haemodynamics). They are excluded ONLY from the four systemic vital-sign categories because they measure pressure at non-systemic-arterial sites, with different normal ranges and clinical meaning. Excluded from BP vital signs ≠ excluded from the database.
measure_id | tag | category | component | freq_hz | unit | reason_excluded
114 | MDC_PRESS_BLD_ART_PULM_SYS | Pulmonary artery pressure | Systolic | 0.97656 | mmHg | Pulmonary — not systemic
115 | MDC_PRESS_BLD_ART_PULM_DIA | Pulmonary artery pressure | Diastolic | 0.97656 | mmHg | Pulmonary — not systemic
113 | MDC_PRESS_BLD_ART_PULM_MEAN | Pulmonary artery pressure | Mean | 0.97656 | mmHg | Pulmonary — not systemic
203 | MDC_PRESS_BLD_ATR_LEFT_SYS | Left atrial pressure | Systolic | 0.97656 | mmHg | Cardiac chamber — not arterial
204 | MDC_PRESS_BLD_ATR_LEFT_DIA | Left atrial pressure | Diastolic | 0.97656 | mmHg | Cardiac chamber — not arterial
99 | MDC_PRESS_BLD_ATR_LEFT_MEAN | Left atrial pressure | Mean | 0.97656 | mmHg | Cardiac chamber — not arterial
137 | MDC_PRESS_BLD_ATR_RIGHT_SYS | Right atrial pressure | Systolic | 0.97656 | mmHg | Cardiac chamber — not arterial
138 | MDC_PRESS_BLD_ATR_RIGHT_DIA | Right atrial pressure | Diastolic | 0.97656 | mmHg | Cardiac chamber — not arterial
27 | MDC_PRESS_BLD_ATR_RIGHT_MEAN | Right atrial pressure | Mean | 0.97656 | mmHg | Cardiac chamber — not arterial
124 | MDC_PRESS_BLD_VEN_CENT_SYS | Central venous pressure | Systolic | 0.97656 | mmHg | Venous — not arterial
125 | MDC_PRESS_BLD_VEN_CENT_DIA | Central venous pressure | Diastolic | 0.97656 | mmHg | Venous — not arterial
32 | MDC_PRESS_BLD_VEN_CENT_MEAN | Central venous pressure | Mean | 0.97656 | mmHg | Venous — not arterial
226 | MDC_PRESS_BLD_VEN_UMB_SYS | Umbilical venous pressure | Systolic | 0.97656 | mmHg | Venous — not arterial
227 | MDC_PRESS_BLD_VEN_UMB_DIA | Umbilical venous pressure | Diastolic | 0.97656 | mmHg | Venous — not arterial
225 | MDC_PRESS_BLD_VEN_UMB_MEAN | Umbilical venous pressure | Mean | 0.97656 | mmHg | Venous — not arterial
152 | MDC_PRESS_INTRA_CRAN_SYS | Intracranial pressure | Systolic | 0.97656 | mmHg | Intracranial — not blood pressure
153 | MDC_PRESS_INTRA_CRAN_DIA | Intracranial pressure | Diastolic | 0.97656 | mmHg | Intracranial — not blood pressure
50 | MDC_PRESS_INTRA_CRAN_MEAN | Intracranial pressure | Mean | 0.97656 | mmHg | Intracranial — not blood pressure
216 | NOM_PRESS_INTRA_CRAN_1_SYS | Intracranial pressure (ch 1) | Systolic | 0.97656 | mmHg | Intracranial — not blood pressure
217 | NOM_PRESS_INTRA_CRAN_1_DIA | Intracranial pressure (ch 1) | Diastolic | 0.97656 | mmHg | Intracranial — not blood pressure
175 | NOM_PRESS_INTRA_CRAN_1_MEAN | Intracranial pressure (ch 1) | Mean | 0.97656 | mmHg | Intracranial — not blood pressure
220 | NOM_PRESS_INTRA_CRAN_2_SYS | Intracranial pressure (ch 2) | Systolic | 0.97656 | mmHg | Intracranial — not blood pressure
221 | NOM_PRESS_INTRA_CRAN_2_DIA | Intracranial pressure (ch 2) | Diastolic | 0.97656 | mmHg | Intracranial — not blood pressure
189 | NOM_PRESS_INTRA_CRAN_2_MEAN | Intracranial pressure (ch 2) | Mean | 0.97656 | mmHg | Intracranial — not blood pressure

## Waveforms (Phase 2)
Pressure waveforms — Phase 2 (out of current scope)
All mmHg pressure waveforms sampled at 125 Hz. Not used in phase 1. Candidate systemic-arterial sources (from which Sys/Dia/Mean could be derived) are flagged.
measure_id | tag | freq_hz | unit | candidate_arterial_source | notes
129 | MDC_PRESS_BLD | 125 | mmHg | Yes | Named systemic arterial waveform — likely Sys/Dia/Mean source
139 | MDC_PRESS_BLD_AORT | 125 | mmHg | Yes | Named systemic arterial waveform — likely Sys/Dia/Mean source
22 | MDC_PRESS_BLD_ART | 125 | mmHg | Yes | Named systemic arterial waveform — likely Sys/Dia/Mean source
4 | MDC_PRESS_BLD_ART_ABP | 125 | mmHg | Yes | Named systemic arterial waveform — likely Sys/Dia/Mean source
57 | MDC_PRESS_BLD_ART_PULM | 125 | mmHg | No | Non-systemic pressure waveform
154 | MDC_PRESS_BLD_ART_UMB | 125 | mmHg | Yes | Named systemic arterial waveform — likely Sys/Dia/Mean source
98 | MDC_PRESS_BLD_ATR_LEFT | 125 | mmHg | No | Non-systemic pressure waveform
38 | MDC_PRESS_BLD_ATR_RIGHT | 125 | mmHg | No | Non-systemic pressure waveform
37 | MDC_PRESS_BLD_VEN_CENT | 125 | mmHg | No | Non-systemic pressure waveform
224 | MDC_PRESS_BLD_VEN_UMB | 125 | mmHg | No | Non-systemic pressure waveform
52 | MDC_PRESS_INTRA_CRAN | 125 | mmHg | No | Non-systemic pressure waveform
880 | NOM_PRESS_BLD_ART_FEMORAL | 125 | mmHg | Yes | Named systemic arterial waveform — likely Sys/Dia/Mean source
172 | NOM_PRESS_GEN_1 | 125 | mmHg | Maybe | Configurable channel — site set at bedside
192 | NOM_PRESS_GEN_2 | 125 | mmHg | Maybe | Configurable channel — site set at bedside
193 | NOM_PRESS_GEN_3 | 125 | mmHg | Maybe | Configurable channel — site set at bedside
2517 | NOM_PRESS_GEN_4 | 125 | mmHg | Maybe | Configurable channel — site set at bedside
174 | NOM_PRESS_INTRA_CRAN_1 | 125 | mmHg | No | Non-systemic pressure waveform
188 | NOM_PRESS_INTRA_CRAN_2 | 125 | mmHg | No | Non-systemic pressure waveform
112 | Wave-192676 | 125 | mmHg | Maybe | Unnamed pressure waveform — channel assignment unknown
121 | Wave-192680 | 125 | mmHg | Maybe | Unnamed pressure waveform — channel assignment unknown
1825 | Wave-192684 | 125 | mmHg | Maybe | Unnamed pressure waveform — channel assignment unknown
116 | Wave-192692 | 125 | mmHg | Maybe | Unnamed pressure waveform — channel assignment unknown
157 | Wave-192696 | 125 | mmHg | Maybe | Unnamed pressure waveform — channel assignment unknown
2597 | Wave-193540 | 125 | mmHg | Maybe | Unnamed pressure waveform — channel assignment unknown
2607 | Wave-195764 | 125 | mmHg | Maybe | Unnamed pressure waveform — channel assignment unknown
103 | Wave-NLS_NOM_PRESS_GEN_1 | 125 | mmHg | Maybe | Configurable channel — site set at bedside
53 | Wave-NLS_NOM_PRESS_GEN_2 | 125 | mmHg | Maybe | Configurable channel — site set at bedside